# Proposal ID 20153

# PART II - NARRATIVE

# Section 7.  Abstract

The RSBOJC is proposing a plan to increase salmon and steelhead populations by improving water-quality.  The water quality will be improved by reducing sedimentation, temperature and other important factors.  These water quality improvements will be accomplished by the incorporation of sedimentation basins to capture sediment before it can discharge to the lower Yakima River.

Installation of the settling basins will be achieved through a six-step program, which will consist of study, design, property acquisition, construction, O & M, and documentation.

# Section 8.  Project description

a.	Technical and/or scientific background

The lower Yakima River basin has been identified as one of the most intensively irrigated and agriculturally diverse regions in the United States.  More than 325,000 acres of cropland is being irrigated in the Yakima Valley and a vast network of drains exist to convey excess water, in the form of irrigation- and agricultural-return flows, to the Yakima River.  These return flows can account for as much as 80 percent of the lower  Yakima River main-stem flow during the irrigation season.  Return flows are seriously polluted and, as a result, the lower Yakima River exceeds permissible state standards for DDT, Ammoniea and other nutrients, temperature and turbidity.  Because of these conditions, the Yakima River has been listed as impaired under the Federal Clean Water Act.  Once abundant salmon and steelhead populations have dwindled to precariously low levels and other beneficial uses of the Yakima River water are in jeopardy.  Consequently, the quality of the water in the lower Yakima River is highly dependent upon the quality of these agricultural-return flows(Joy and Patterson, 1997).

Wastes from some agricultural practices, irrigation-return drains, municipal and industrial treatment plant effluents, run-off from poorly managed forest and range practices, and urban runoff have been identified as pollutant sources, according to Ecology’s Suspended Sediment and DDT Total Maximum Daily Load Evaluation Report for the Yakima River (Joy and Patterson, 1997).  Intensive agriculture (return flows and grazing) has caused widespread habitat degradation.  Resource problems include low flow at diversions, water quality degradation and pesticide.  Low flows, high temperatures and sedimentation reduce fall Chinook spawning success.

The movement of suspended sediment in streams is an important factor in the transport and fate of chemicals in the environment.  Many water-quality constituents including trace metals, organic compounds, indicator bacteria, and nutrients are associated with suspended sediment.  Large suspended-sediment concentrations and associated contaminants can potentially affect water used for domestic-water supplies, aquatic-life propagation, and recreation (Rinella et al., 1992). Sediment, predators and lack of side-channel refuges limit juvenile rearing and over-wintering survival.  Sediment also limits egg-to- fry emergence survival for all species of salmonid in virtually all reaches of the Yakima Basin.

Water quality studies performed in the mid-1970’s through the mid-1990’s by Ecology, the U.S. Geological Survey, Washington State University, Conservation Districts, the United States Bureau of Reclamation (USBR), and others focused on irrigated agricultural areas in the lower Yakima River basin.  Results from these studies indicated that suspended-sediment concentrations and turbidity in agricultural-return drains, and in the lower Yakima River, were directly affected by irrigation practices (Joy and  Patterson, 1997).  In fact, irrigation return flow has been identified as the single most significant source of pollutants to the lower Yakima River (Ecology, 1986).

The RSBOJC proposes that sedimentation basins constructed in major drainages will improve the water-quality returning to the lower Yakima River.  Preliminary results on one small settling basin shows approximately $15/tons of silt saved.  Using this figure this project would save approximately 10,000 tons of silt from going into the lower Yakima River.   The location of the most favorable sites needs to be determined by conducting a study.  Once the sites have been determined, the land will have to be acquired.  An engineering firm will be hired to do the engineering and construction phase.

b.	Rationale and significance to Regional Programs

The concept of sedimentation basins fits into the goals and objectives of Section 7.6 of the Fish and Wildlife Program.  This would be a possible action taken to rehabilitate the watershed in the interest of restoring salmon and steelhead stocks.

c.	Relationships to other projects

The RSBOJC’s water quality-monitoring will be collecting and analyzing the results of the settling basins.

d.	Project history (for ongoing projects)

N/A

e.	Proposal objectives

OBJECTIVE 1: Conduct a Study

Conduct a study to identify potential basins in the major drainages in the RSBOJC area of jurisdiction.

OBJECTIVE 2: Design two to three prototype basins

An engineering consultant will be hired to design the settling basins.

OBJECTIVE 3: Acquire Property

RSBOJC will enter into a lease agreement or purchase land for basins.

OBJECTIVE 4: Construct Basins

A construction contractor will be hired for the construction phase of this project.  The construction activities that will be required are the same as currently practices by qualified local construction contractors.  The work that will be needed to construct the sediment settling basins can be completed during the irrigation season.  This will allow the work to proceed during favorable weather conditions and thereby reduce costs.

OBJECTIVE 5: Operation and Maintenance

The operation and maintenance will be an on-going operation for RSBOJC.  This will be funded by assessments in the following years.

OBJECTIVE 6: Documentation

The water quality results will be monitor and compare to baseline data collected.  These results will be compared to the cost to construct the basins and a cost ratio will be determined.  This information will then be shared with other organizations.

f.	Methods

Installation of the settling basins will be achieved through a six-step process, which will consist of study, design, acquisition, construction, operation and maintenance, and documentation.

The study will be based on:

- Can the land be readily purchased or leased

- Location to the Yakima River in order to achieve improved water-quality

- Soil type/stability

- Easily accessible

- Location to good fill material if needed

Once the study has been completed two or three sites will be selected for design and construction.  The planning work needed to implement the sediment settling basin program is similar to the type of work regularly performed by the RSBOJC staff.  The design and construction management is beyond the RSBOJC’s ability to staff for this short duration project.  It is anticipated that a consultant will be used for these tasks.  Likewise, a construction contractor will be used for the actual construction work.  The administrative workload will be able to be handled with the existing RSBOJC staff.

There will be a need for continuing inspection and maintenance of settling basins.  The RSBOJC is prepared to assume these responsibilities after the first year of operation.  No continuing O & M budget is projected as part of the publicly funded project after the first year of operation (end of 2000).

g.	Facilities and equipment

The planning work needed to implement the sediment settling basin program is similar to the type of work regularly performed by the RSBOJC staff.  It is not anticipated that it will be necessary to acquire any additional specialized equipment or facilities for the planning work.

h.	Budget

The personnel plus fringe benefits will cost $7,500.  Land acquisition will be budgeted at $35,000.  Office overhead will be $1,500.  The design and construction of the basin done by a contractor will cost $220,500.  The total budget will be $264,500.

# Section 9.  Key personnel

The RSBOJC is prepared to do the planning phase and oversee construction.  A qualified engineering consultant will be hired for the design phase and a qualified construction contractor will be hired for the construction phase.  The RSBOJC staff will accomplish on-going operation and maintenance.

# Section 10.  Information/technology transfer

The project is expected to serve as a demonstration of the benefits that can be achieved by managing the quality of water that returns to irrigation and drainage waterways by using managed sedimentation basins.  This concept could be applied to many other irrigation and drainage projects and become an agency standard.